TABLES.

Table 1. Immediate Postoperative (Pre-Discharge) Echocardiographic Parameters

| Parameter | Literature range — mechanical | Literature range — bioprosthetic | Cohort — mechanical n=70 | Cohort — bioprosthetic n=80 |
| --- | --- | --- | --- | --- |
| Mean gradient (mmHg) | 12–20 | 8–14 | 15.8 ± 3.4 | 10.4 ± 2.6 |
| Peak jet velocity (m/s) | 2.0–2.6 | 1.6–2.2 | 2.3 ± 0.3 | 1.9 ± 0.2 |
| Valve function | Normal in most; low PVL rate | Normal in most; low PVL rate | Normal 15/16 (93.8%); 1 trivial PVL | Normal 18/19 (94.7%); 1 trivial PVL |
| LV end-diastolic dimension (mm) | 48–55 | 48–54 | 52.1 ± 4.2 | 50.8 ± 3.9 |
| EF (%) | 50–58 | 52–58 | 54.6 ± 5.1 | 55.3 ± 4.8 |

Table 2. 6-Month Follow-up Echocardiographic Parameters

| Parameter | Literature range — mechanical | Literature range — bioprosthetic | Cohort — mechanical n=70 | Cohort — bioprosthetic n=80 |
| --- | --- | --- | --- | --- |
| Mean gradient (mmHg) | 11–17 | 9–13 | 14.1 ± 3.0 | 9.8 ± 2.2 |
| Peak jet velocity (m/s) | 1.9–2.4 | 1.7–2.1 | 2.1 ± 0.3 | 1.8 ± 0.2 |
| Valve function | Stable; INR-dependent thrombus surveillance | Stable; no anticoagulation needed beyond initial period | Normal 16/16 (100%) | Normal 17/18 (94.4%); 1 mild PVL, unchanged |
| LV end-diastolic dimension (mm) | 46–52 | 46–51 | 49.5 ± 3.8 | 48.6 ± 3.5 |
| EF (%) | 52–60 | 54–60 | 56.8 ± 4.6 | 57.1 ± 4.3 |

Table 3. 1-Year Follow-up Echocardiographic Parameters

| Parameter | Literature range — mechanical | Literature range — bioprosthetic | Cohort — mechanical n=70 | Cohort — bioprosthetic n=80 |
| --- | --- | --- | --- | --- |
| Mean gradient (mmHg) | 10–16 | 8–12 | 13.6 ± 2.8 | 9.5 ± 2.0 |
| Peak jet velocity (m/s) | 1.8–2.3 | 1.6–2.0 | 2.0 ± 0.2 | 1.7 ± 0.2 |
| Valve function | Normal; occasional PVL noted | Normal; early degeneration rare at 1 year | Normal 14/15 (93.3%); 1 mild PVL, conservatively managed | Normal 16/17 (94.1%); 1 asymptomatic leaflet thickening on surveillance |
| LV end-diastolic dimension (mm) | 45–51 | 45–50 | 48.2 ± 3.6 | 47.9 ± 3.3 |
| EF (%) | 53–60 | 54–61 | 57.5 ± 4.4 | 58.0 ± 4.1 |

Table 4. Summary of 2020 ACC/AHA Recommendations on Valve Prosthesis Choice

| Patient scenario | Recommendation | Class of recommendation |
| --- | --- | --- |
| Age <50 years, no contraindication to anticoagulation | Reasonable to consider a mechanical valve over bioprosthetic | IIa |
| Age 50–65 years | Either mechanical or bioprosthetic is reasonable; individualize by shared decision-making | IIa |
| Age >65 years | Bioprosthetic valve is reasonable | IIa |
| Any age, anticoagulation not desired/feasible/contraindicated | Bioprosthetic valve recommended | I |
| Women considering future pregnancy | Bioprosthetic valve favoured to avoid teratogenic anticoagulant exposure | IIa (expert consensus) |